## Sheet1
Home New
---> TOGAF framework?
TOGAF is standard of Open Group. It is proven enterprise Architecture methodology and Framework used to improved efficiency. It provides a detailed model of architectural work products.
For solution architec we need Enterprise Architecture methodologies (eg, TOGAF, Zachman, SOA, ITIL, COBIT etc)
Very Imp | ---> What is Disaster Recovery?
Disaster recovery is required for business continuity and to avoid data loss, revenue loss. Disaster recovery enable us to run all critical business applications, databases and services from DR site after a disaster. Disaster recovery is a secondary site where all the production data from primary site is replicated. If there is any disaster happens at primary site then DR site is invoked and all critical bsiness applications, databases and services are run from DR site. Disaster can be due to power failure, Huge fire, earthquake etc. The primary site and the DR site should be located in two different geographical locations. Nowadays, we can also use cloud as DR site.
ReadOnly | Benefit of effective disaster recovery? Effective disaster recovery enables to recover quickly after a disaster with minimal loss of data. It also helps is completing backup faster.
How is disaster recovery performed? We use below technologies for disaster recovery. Replication and Backup/Restore.
Very Imp | ---> What is RPO?
RPO means Recovery Point Object. RPO is the point-in-time to which data must be recovered after an outage. RPO defines the amount of data loss that a business can accept. Based on the RPO, we can plan for the frequency of backup or replication. For example, if the RPO of a particular business application is 12 hours, then backups should be taken in every 12 hours.
Very Imp | ---> What is RTO?
RTO means Recovery Time Object RTO is the time within which data must be recovered after an outage. RTO is the downtime that a business can accept.
Very Imp | ---> What technology you use for disaster recovery?
Backup, restore, Synchronous and Asynchronous Replication.
Very Imp | What is replication
Weak | Replication is a continuous process of coping production data from primary site to DR site to support backup and disaster recovery.
Very Imp | ---> What is Synchronous replicatoin?
Synchronous replication is a mode of replication. Synchronous replication provides zero RPO. In Synchronous replication, server sends a write request to source storage. Source storage writes data to the cache and sends the data to remote storage. Remote storage writes data to the cache and sends acknowledgement to source storage. Source storage sends "write-complete" acknowledgement to server. In synchronous replication, Application response time is increased as writes are committed ot both the source and the remote storage before sending the “write complete” acknowledgment to the server. The supported distance between source and remote storage should be between 100KM to 150KM and RTT should be less than 10ms.
There are 2 modes in synchronous replication (StrictSync and Sync)
Very Imp | ---> What is Asynchronous replication:
Asynchronous replication is a mode of replication. In Asynchronous replication, RPO is configurable from 5 minutes to 24 hours. In Asynchronous replication, server sends a write request to source storage. Source storage writes data to the cache and immediately sends "write-complete" acknowledgement to the server. After that as per predefined schedule, source storage sends data to Remote storage. Remote storage writes data to the cache and sends acknowledgement to the source storage. In Asynchronous replication, application response time is not increased as the writes are commited to source storage only and source storage immediately sends the "write complete” acknowledgment to the server. Supported distance between source and remote storage can be 1000s of kilometers
Very Imp | ---> What is snapshot?
Weak | Snapshot is dependant point in time copy of source volume. During snapshot it does not copy all the data from source volume to snapshot but it only creates pointers to source data. Initially, snapshot does not reserve any space but as the data changes on source volume, it starts consuming storage space to store data. So as the time progresses, snapshot size increases
Very Imp | ---> How snapshot works? Snapshot methods?
Weak | There are 2 types of snapshot technologies are in use "Copy On Write First" technology or "Redirect On Write" technology. In Copy On Write First technology, If there is any data change on the source volume then old data from source volume is copied to snapshot and new data is written to source volume. Snapshot holds old data and source volume holds latest data. Performance is little impacted here as data is copied from source volume to snapshot and then new data is wrtten to source volume.
In Redirect On Write technology, If there is any data change on the source volume, then new data is redirected to snapshot and source volume is intact. In ROW technology, snapshot holds new data and source volume holds old data. Performance is improved here as there is no process of coping old data from source volume to snapshot and new data is directly written to snasphsot.
Very Imp | ---> What is snapclone?
Weak | Snapclone is independant point in time copy of source volume. During snapclone it copies all the data from source volume to snapclone. Once snapclone is created, after that any changes made to source volume are not reflected to snapclone. Snapclone reserves the space equal to the size of source volume.
Very Imp | ---> What is Multipath or multipathing software?
Weak | In SAN infrastructure, We have multiple physical path between server and storage. In SAN infrastructure, usually we have 2 SAN Switches. 2 HBA cards in each server, One HBA connects to SAN Switch1 and other HBA connects to SAN Switch2. 2 storage controllers with atleast 2 FC ports on each storage controller, one connects to SAN Switch1 and other connects to SAN Switch2. So with this SAN infrastructure, we will have multiple physical paths between server and storage. Multiple physical paths are required to avoid single point of failure. These physical path may fail due to HBA card failure, FC cable damage, SFP fault, SAN Switch or Storage Controller failure etc.
Weak | So Multipathing software can be used to manage these multiple physical paths and to load balance, to redulatency. Multipathing software hides all physical path and provides a single path to the server. If there is any active path fails then it switches to alternate path.
https://learn.microsoft.com/en-us/previous-versions/windows/it-pro/windows-server-2008-R2-and-2008/cc725907(v=ws.11)
Very Imp | ---> What are load balancing policies or multipathing policies in VMware?
Weak | There are multiple policies such as. Round robin Fixed path Most Recently Used
What is the default policy in Vmware???
Round Robin policy uses all available paths and attempts to evenly distribute I/O across all available paths to reduce latency and to load balance.
Fixed policy uses preferred path if it is configured. Otherwise, it uses the first working path which was discovered at system boot time. If the preferred path fails, then it switches to an alternate path. Once the preferred path is restored then it automatically switches back to the preferred path.
Most Recentrly Used policy uses the first working path which was discovered at system boot time. If this path fails, it switches to an alternative availablable path. If previously failed path is restored then it does not switch back to previous path but continue to use the alternate path.
Very Imp | ---> Load balancing policy or multipathing policies in Windows?
https://www.youtube.com/watch?v=aqwaaBZLMqE
Weak | Round Robin policy Fail Over Only policy Failback policy Round-robin with a subset of paths policy Dynamic Least Queue Depth policy Weighted Path policy
Round Robin policy uses all available paths and attempts to evenly distribute I/O across all available paths to reduce latency and to load balance. This is the default policy.
Weak | Fail Over Only policy uses a primary path. If the primary path fails, then it switches to an alternate paths. It the primary path is restored then it doesn't switch back to primary path but continue to use alternate path.
Failback policy uses a preferred path. If the preferred path fails, then it switches to an alternate path. If preferred path is restored then it automatically switches back to the preferred path.
Weak | Round-robin with a subset of paths. Here we define 2 sets of path, one is primary set and another is standby set. It uses all the paths from primary set, it attempts to evenly distribute I/o across all the paths in primary set to reduce latency and to load balance, as long as at least one of the paths is available. If no path is available in primary set then it switches to an alternate path of standby set. If one or more path of primary set is restored, then it switches back to path of primary set. For example, given 4 paths — A, B, C, and D — A, B, and C are listed as primary paths, and D is standby path. It chooses a path from A, B, and C in round-robin fashion as long as at least one of them is available. If all three path fails in primary set, then It uses path in standby path. If path A, B, or C is restored, it switches back to available paths in primary set.
Weak | Dynamic Least Queue Depth policy uses the path which has least number of outstanding requests.
Weak | Weighted Path policy assigns weights to each path. It uses the path which has the least weight
Not Imp | How to install MPIO in Windows?
Weak | Install MPIO in windows - Go to Server Manager - Add roles and features - Role-based or featur-based installation - Select Multipath I/O and proceed with installation
Not Imp | How to configured MPIO in Windows
Weak | MPIO configuration in windows - Go to Server Manager - Tools - select MPIO and proceed with configuration
Introduction to Windows Multipath IO MPIO - Part 1 - https://www.youtube.com/watch?v=GrX_6Y9deD0
Configuring MPIO - https://www.youtube.com/watch?v=aqwaaBZLMqE
Very Imp | What are types of Storage System?
Very Weak | 1) Block-based Storage (SAN) 2) File-based Storage (NAS) 3) Object-Based Storage (OSD) 4) Unified Storage
https://www.youtube.com/watch?v=71iiAzlF2Rs
Very Imp | What is Block-based Storage (SAN-based)?
Very Weak | Block based storage is block level storage. It is also known as fabric-based storage. It is used in SAN environement. In Block storage, we have 2 redundant controllers with atleast FC ports. FC ports are connected to 2 different SAN Switches using fibre optic cable. It has multiple disk enclosures with multiple disks. We can create pools and RAIDGroups using multiple disks and apply RAID level. We can create multiple LUNs and allocate to different host. Host uses HBA cards to connect to SAN Switches. Host uses FC protocol to access Storage LUNs.
Very Imp | What is NAS? What is file based storage??
Very Weak | NAS is Network Attached Storage. it is also known as file-based storage, file level storage. NAS is a dedicated, high-performance file sharing storage. NAS is connected to ethernet switches using ethernet cables. In NAS we have multi disk with RAID configured. In NAS, we can create CIFS and NFS shares and we can export them to Windows and Linux clients over IP network. Windows uses can use CIFS protocol to access CIFS shares. Linux user can use NFS protocol to access NFS shares. Windows users can map CIFS shares. Linux users can mount NFS shares. Windows and Linux users can use these shares without formating to store files and folders. Same shares can be access by multiple users.
Not Imp | NFS and CIFS creation from Unity storage
Weak | Below are the steps. Pool is required for NAS server creation Create NAS Server Create new File System Configure protocol (NFS, CIFS and SMB) Create shares (NFS, CIFS) Configure Access
D:\Personal-Data\Dell Trainings-Imp\Storage\DECS-IE Unity Implementation Engineer - Partners [Stream]-08302022\SOPs
Very Imp | What is Object-Based Storage Device (OSD)?
Very Weak | Object based storage is a type of storage. In Object based storage, data is stored in the form of objects on a flat address space. There is no hierarchy followed for storing objects such as folder withing folder, object in a folder. An object within an object is not possible. All objects are stored on a flat address sapce. Every Object is identified by a unique identifier called an object ID. That object ID can be used to access objects without knowing the exact storage location of the object. Example of objects such as files, documents, pictures, movies, songs etc.
CAS: Content Addressable Storage (Archiving type of media)???
Very Imp | What is Unified Storage?
Very Weak | Unified storage is a combination of block-level, file-level, and object-level storage. In Unified storage, There may be dedicated controllers for handling block I/O, file I/O, and object I/O.
All 3 storage is managed by single user interface
Very Imp | What are component of storage system?
Very Weak | Basically there are only 2 major component of storage. 1) Dual Controller (more than one controller for redundancy ) 2) Disk shelf
Very Imp | What is controller? What are prts of controller?
Very Weak | Controller is a major part of Storage. Controller is a compute system that runs a purpose-built operating system. Contorller has CPU, Memory, Cache, NVRAM, Batery Backup, Frontend ports, Backend ports, Daul Power Supply, disk enclosures and disks etc
Very Imp | What is the function of controller? What is the task of controller?
Very Weak | Controller performs several key functions such as I/O operations, cahce management, Storage management, Pool and RAIDGroup management, RAID protection, Data compression, data deduplication, data encryption, Snapshot, Snapclone, Local replication, remote replication and Storage tiering.
Very Weak | Cache Cache is faster than the spinning disk and it improves performance. Cache is used to read and write data. When a host sends a write request to storage. Storage writes the data to the cache and sends "write-complete" acknowledgement to the host. Later on when the storage is less loaded or idle, it writes data to the disk. When a host sends a read request, if requested data is available in the cache then it is sent from the cache else it retrieves the data from disks, write to cache and then sent to hosts. It is also used to calculate Parity information. If there is a disk failure then cache is also used to reconstruct data. It is also used for data compression, deduplication, snapshot, snapclone, local and remote replication.
NVRAM NVRAM is a Non Volatile Memory. It is used to store data from cache. If there is power failure then Battery Backup provides temporary power to storage, so that all the data from cache can be trsnferred to NVRAM. Data is persistant in NVRAM and it is not lost even when there is no power to storage.
Front End Ports are used to connect to SAN Swithces, host connect to front end port for LUN access. Banke End Ports are used to connect to the disk shelves via dual link control cards. Disk shelf have hard disk drives (SAS, NL-SAS and SSD disks), LLC (Link control cards to connect to Controllers) and dual power supplies.
Very Imp | What is read hit?
When a host sends a read request to storage and if requested data is available in the cache then it is sent from the cache to the host. This is known as a Read hit.
Very Imp | What is read miss?
When a host sends a read request to storage, if requested data is not available in the cache, then data is retrieved from the disks, wrtiten to the cache and sent to the host. This is known as a Read miss.
Very Imp | What is Write-Back Operation?
When a host sends a write request to storage. Storage writes the data to the cache and sends "write-complete" acknowledgement to the host. Later on when the storage is less loaded or idle, it writes data from cahce to the disk.
Very Imp | What is Write-Through Operation?
When a host sends a write request to storage. Storage writes the data to the cache and immediately writes the data to disks and sends "write-complete" acknowledgement to the host. So as the data arrives to storage, it passes through cache and written to disks. The risk of data loss is low
Very Imp | What are parts of Disk shelf?
Disk shelf have hard disk drives such as SSD, SAS, NL-SAS. Link control cards to connect to Controllers and dual power supplies.
Very Imp | What is the difference between san and nas?
Weak | SAN is Storage Area Network and NAS is Network Attached Storage SAN is block level storage and NAS is file level storage SAN is Fabric based and NAS is an Ethernet based In SAN, SAN Switches, HBA cards and fibre optic cables are used, In NAS, network interface cards, ethernet switchs and CAT5, CAT6 cables are used. In SAN, LUNs are created and allocated to hosts, In NAS, shares are create and exported to clients. In SAN, FC protocol to access storage LUNs, In NAS, CIFS and NFS protocols are used to access shares.
What is SMB protocol, Server Message Block protocol???
Very Imp | ---> Designing storage - requirement is 10000 IOPS per TB for my Tier1, 50TB storage.
Very Imp | ---> Storage sizing
https://www.dell.com/en-in/dt/video-collateral/demos/microsites/mediaplayer-video/2017/midrange-sizer-tool-video.htm
Weak | To get 10,000 IOPS and 50TB storage capacity we have to use 3 formulas. 1st Formula is to find total RAIDGroup IOPS. 2nd formula is to find total no of disk required to get total RAIDGroup IOPS. 3rd formula is to find total usable capacity of RAIDGroup Required IOPS is 10000, but the total RAIDGroup IOPS will be more than that due to % of read, % of write and RAID penalty. Required IOPS = Total RAIDGroup IOPS * Write percentage/Write penalty + Total RAIDGroup IOPS * Read percentage With this formula we get "Total RAIDGroup IOPS"
Now we can find total no of disks required to get total RAIDGroup IOPS. Required no of disks = Total RAIDGroup IOPS/IOPS of a single disk + no of parity disk + no of spare disk Now we can find total usable capacity of RAIDGroup Total usable capacity of RAIDGroup = (Total no of disks - no of parity disks - no of spare disk) * size of the disk
Required IOPS = Total RAIDGroup IOPS * Write percentage/Write penalty + Total RAIDGroup IOPS * Read percentage 10000 = (A x 50%)/4 + (A x 50%) 10000 = 0.5A/4 + 0.5A 4 x 10000 = 0.5A + 0.5A*4 40000 = 0.5A + 2A 40000 = 2.5A 40000/2.5 = A 400000/25 = A 16000 = A
Required no of disks = Total RAIDGroup IOPS/IOPS of a single disk + parity disk + spare disk Required no of disks = 16000/200 + Parity disks + Spare disks Required no of disks = 92 + 10 + 4 Required no of disks = 106
Total usable capacity of RAIDGroup = (Total no of disks - parity disks - spare disk) * size of disk Total usable capacity of RAIDGroup = (106 - 10 - 4) * 550 Total usable capacity of RAIDGroup = 92 * 550 Total usable capacity of RAIDGroup = 50.6 TB
If we take 100 SAS 600GB 15K RPM disks. And we configure 10RaidGroups with 10 disks in each RG and Apply RAID5. So we will have total 10 RGs. From each RG, 1 disk space will be used for storing parity information. So we wil get 9 disk space in each RG. So we will get total 90 disks space. Total space will be 550 GB x 90 = 49500 GB = 49.5 TB
Very Imp | Storage sizing
Very Weak | Before working on storage sizing, We need to understand customer requirement with respest to total required IOPS, total usable capacity, latency, bandwidth and throughput. Then we can work on storage sizing part. Which storage to be used, What should be the CPU, Memory and cache size of storage How many disk enclosures should be there. How many total disks we should we have including parity and spare disk. What type of disk, size and speed, What storage features are required (data compression, data deduplication, data encryption, snapshot, snapclone, local replication, remote replication, storage tiering etc). No of front end ports
https://midrangesizer.dell.com/
https://www.youtube.com/watch?v=E6o0LoTLJQk
Refer course "Storage Performance Fundamentals
Sizing and Performance
https://infohub.delltechnologies.com/l/dell-emc-ready-bundle-for-sap-with-unity-storage-5/sizing-and-performance-2 https://infohub.delltechnologies.com/
Very Imp | What is iSCSI? (Internet Small Computer Systems Interface)
Very Weak | iSCSI is a SAN protocol which runs over existing ethernet network. By using ISCSI, we can transfer block level data over existing ethernet network. In iSCSI, we usesIQN and IP addresses. (IQN = iSCSI Qualified Name) In iSCSI, SCSI data is encapsulated into IP packet and then transfered over existing ethernet network using TCP/IP protocol. iSCSI implementation is easy and inexpensive as we do not need invest into SAN Switches, FC HBA cards, Fibre Optic cables etc. There are 3 types of iSCSI initiators we can use Software iSCSI with Standard Network Interface Card Software iSCSI with TOE Network Interface Card Hardware iSCIS (It is also known as iSCSI HBA)
Weak | In Software iSCSI with Standard Network Interface Card, There will additional load on Server's CPU, as encapsulation and Storage TCP prcossing will be done by Server's CPU In Software iSCSI with TOE Network Interface Card, There will be less load on Server's CPU as encapsulation is done by Server's CPU and Storage TCP prcossing is done by TOE Network Interface Card. In Hardware iSCSI, There will no additional load on Server's CPU, as both encapsulation and Storage TCP prcossing will be done by Hardware iSCSI (iSCSI HBA).
Weak | Each server will have 2 iSCSI initiators and 2 IP addresses. One will connect to ethernet switch1 and other connects to ethernet switch2. From storage side, we have 2 storage controllers with 2 iSCSI target and 2 IP addresses for each storage controller. One will connect to ethernet switch1 and other connects to ethernet switch2. In iSCSI servers, we need to add iSCSI Target IP addresess to discover and access storage LUN To map LUNs to iSCSI servers, we have to create storage group and add server IQN and target LUNs. Now from server side we can discover LUN in disk management.
TOE NIC has TOE. TOE is TCP Offload Engine. TOE improves performance as it offloads Storage TCP processing from server's CPU. Customer may be interested to implement SAN over IP or IP SAN, as they may want to use exiting IP infrastructure, may be customer does not want to invest in SAN Switches, HBA cards, Fibre Optic cables etc, May be customer having budget issue. There are 2 protocols for IP SAN (iSCSI and FCIP) The S4100-ON series are high-performance, multifunction, 1/10/25/40/50/100 GbE and 8/16/32G FC
Very Imp | What are key components for iSCSI communication?
Weak | Key components for iSCSI communication are iSCSI initiators iSCSI targets Network Interface Card, Ethernet cable and Ethernet switch
ReadOnce | Native iSCSI Connectivity In Native iSCSI connectivity, iSCSI initiators connects directly to the iSCSI targets or connects through Ethernet switches. FC components are not required for native iSCSI connectivity.
ReadOnce | Bridged iSCSI connectivity In Bridged iSCSI connectivity, iSCSI initiators connects to Ethernet switches. FC Storage isconnected to FC SAN iSCSI gateway connects Ethernet switch with FC SAN. So it provides bridging functionality.
Need to re-check on this | Bridge iSCSI connectivity is used when we do not have ethernet ports for iSCSI in our storage system. Bridge iSCSI is a multiprotocol router or it is also known iSCSI gateway. It has both Fibre Channel ports and Ethernet iSCSI ports. On FC ports FC storage is connected and on Ethernet port either compute system are connected directly or standard ethernet switch is connected. iSCSI gateway encapsulates FC frames into IP packets and forwards to ethernet ports. It also decapsulates FC frame from IP Packet then forwards to the native FC interfaces. In iSCSI initiator, gateway’s IP address is configured as the target destination. On the storage system facing side, the gateway is configured as an FC initiator.
Less Imp | Procedure to add iSCSI target ip address in windows server
Weak | Go to iSCSI initiator Go to Discovery tab Add iSCSI target IP address (Default port no is 3260) Add all iSCSI target IP addresses. Go to Target tab Select iqn of target storage Click on "Connect" Check on "Enable multi-path" https://www.youtube.com/watch?v=8oUrDNLgJug https://www.youtube.com/watch?v=3q7MgDmHis4 https://www.youtube.com/watch?v=aqwaaBZLMqE
Less Imp | Procedure to add iSCSI target ip address in Vmware
https://www.youtube.com/watch?v=A7pGqkBFEqs
Weak | Go to ESXi hsot Go to iSCSI Software Adapter and add target iSCSI IP Address and iQN of storage. Rescan Storage to detect storage LUNs. Go to Datastores under "Storage" and verify that datastores are visible.
Go to ESXi hsot Storage Adapter under "Storage" iSCSI Software Adapter Targets tab Dynamic Discovery or Static Discovery Add iSCSI server IP Address and iQN Rescan Storage for storage devices Go paths tab and verify that paths are visible Go to Devices tab and verify devices are visible Go to Datastores under "Storage" and verify that datastores are visible.
Very Imp | What is Fibre Channel protocol?
Weak | Fibre Channel is a high-speed block data transport protocol over fiber optic cables. Fibre Channel is a block level protocol, it supports block level I/O. Fibre Channel speed can be upto 128 Gb/s. Fibre Channel protocol is used in SAN environment.
very Imp | What is SAN?
SAN is storage area network. In SAN environment, Fibre Channel protocol is used. In SAN environment, Each server will have 2 HBA cards. One HBA connects to SAN Switch1 and another connects to SAN Switch2 using Fibre Optic cables. Storage will have 2 controllers. Each controller will have atleast to FC front end ports. One FC port connects to SAN Switch1 and another FC port will connect to SAN Switch2 using Fibre Optic Cables. In SAN Switches, We can configure zoning to group host wwpn and storage wwpn, So that host can communicate with storage using FC protocol. In Storage, We can create Pool and RaidGroup, We can apply RAID levels. We can create and alloate LUNs to hosts. Host can discover and access LUNs using fibre Channel protocol.
very Imp | Fibre Channel Topologies
There are 3 Fibre Channle topologies. DAS topology (Point to Point topology) FC-AL (Fibre Channel Arbitrated Loop topology) FC-SW (Fibre Channel Switched topology)
DAS topology (Point to Point topology) Host directly connects to storage using HBA and Fibre Optic cable.
FC-AL (Fibre Channel Arbitrated Loop topology) Hub is used to connect hosts and storage. Hub is a shared bandwidth, one communication at a time. No zoning supported in Hub so it is not secure. Adding or removing a device from loop, breaks the loop.
FC-SW (Fibre Channel Switched topology) Switch is used to connect hosts and storage. There is no bandwidth sharing, dedicated bandwidth per port. Zoning is supported in Switch, so it is secure. Adding or removing a device from fabric, does not impact fabric.
Four-servers connection to a single storage port is a fan-out One server connection to storage ports on multiple storage is fan-in
very Imp | FC SAN Topologies
Single Switch Fabric Topology Full Mesh Topology Partial Mesh Topology
Single Switch Fabric Topology Only single switch Host and storage connects to same single switch. No ISLs. Full Mesh Topology All the switches are connected to each other (Each switch is connected to every other switch) Host and storage can be connected to any switch. Maximum of one ISL is required for host to reach to storage. Partial Mesh Topology Not All the switches are connected to each other. Several ISLs may be required for host to reach to storage.
Start from here
Interview Question | Core-Edge Fabric - Core Edge Technology (Core to Edge)
In Core-Edge Topology, we have 2 tiers, Edge tier and Core tier The edge tier is composed of departmental switches which are not connected to each other. The core tier is composed of enterprise director switches which are not connected to each other. The edge tier switches are connected to core tier switches through ISLs (InterSwitch Linked). Hosts are connected to Edge tier Switches. Storages are connected to Core tier Switches. Hosts which require high performance can directly connect to Core tier Switches to avoid ISL delays. The core-edge topology increases connectivity within the FC SAN while conserving the overall port utilization.
Benefits are: Consolidation of Fabric. Any host can access any storage. Core Edge Fabric Nomenclature: n1e*n2c*n3i Where n1e= number of edge switches, n2c= number of core switches, n3i=number of ISL
Very Imp | What is Link Aggregation? What is port channel? LACP?
When we have multiple physical link between 2 Ethernet Switches. We can bundle multiple physical links into a single logical link. The advantage of link aggregation is higher bandwidth and throughput, to create redundancy, to load balance and to reduce latency. If any single link fails, then data can be transferred from other remaining link. Data is equally transferred from each link.
Very Imp | What is trunking?
When we have multiple physical ISL links between 2 SAN Switches. We can bundle multiple physical ISL links into a single logical link that is known as trunking. The advantage of trunking is higher bandwidth, higher throughput, higher performance, low latency, load balancing and redundnacy. If any single link fails, then data can be transferred from other remaining link. Data is equally transferred from each link.
Very Imp | Types of SAN Switches?
There are 3 types of switches DS (Departmental Switch) ED (Enterprise Director Switch) MP (Multiprotocol Switch)
Departmental Switche is a small switch with less ports (48 ports), Some components are redundant and hot-swappable. Enterprise Director Switch is a big switch with more ports, all components are redundant and hot-swappable. Multiprotocol switch supports multiple protocols (FC, FCIP, FCoE, iSCSI), it has blades and these blades have FC port and 10Gig ethernet ports.
Very Imp | What are FC SAN componenets?
The key FC SAN components are HBA cards , Fibre Optic cables, SFP, SAN switches, and Storage system with FC front-end ports.
Very Imp | Types of optical cables?
There are two types of optical cables: Multimode and Single-mode Multimode fibre cable is used for short distance (Less than 400 Meters). In Multimode fiber optic cable, multiple rays of light flows simultaneously at different angles. There are chances of collision of these rays of light. Because of this collision signal strength and distance is reduced Single-mode fibre cable is used for long-distance (More than 400 Meters) In Single-mode fiber optic cable, single ray of light flows. So there is no question of collision, so distance is increased.
Multimode fiber (MMF) cable carries multiple beams of light that is projected at different angles simultaneously onto the core of the cable. In an MMF transmission, multiple light beams traveling inside the cable tend to disperse and collide. This collision weakens the signal strength after it travels a certain distance – a process that is known as modal dispersion. Single-mode fiber (SMF) carries a single ray of light that is projected at the center of the core. The small core and the single light wave help to limit modal dispersion. Single-mode provides minimum signal attenuation over maximum distance (up to 10 km). A single-mode cable is used for long-distance cable runs, and the distance usually depends on the power of the laser at the transmitter and the sensitivity of the receiver.
Very Imp | FC SAN Device Port Types?
N_Port N_Port is also known as the node port. All HBA ports and all storage FC front ports are N_Port. N_Ports are connected to a SAN Switch port. F_Port F_Port is also known as a fabric port. F_port is a port where N_Port is connected.
E_Port E_Port is also known as expansion port. When we wnat to connect 2 different switches, then we should configure switch port as E_Port. E_Port of SAN Switch1 connects to the E_Port of SAN Switch2. This connection is also known as ISL. G_Port G_Port is also known as Generic port or Universal port. Empty ports, unused ports of SAN Switches are G_Port. G_Port can become an E_Port or an F_Port.
Very Imp | Fibre Channel Protocol Stack?
FC-4 Mapping interface FC-3 Common services FC-2 Routing, flow control FC-1 Encode/decode FC-0 Physical layer (cables, connector)
Very Imp | What is Storage Virtualization?
In storage virtualization, there is a Virtualization appliance. Compute systems and the storage systems are connected are connected to Virtualization Appliance. Virtualization appliance creates a storage pool by aggregating LUNs from the storage systems. Virtual volumes are created from the storage pool and assigned to the compute systems. The virtualization layer maps the virtual volumes to the LUNs on the individual storage systems. Benefits: − Online expansion of virtual volumes. − Non-disruptive data migration.
Very Imp | How many ways to get wwpn for a HBA?
Very Imp | What is the composition of FC frame?
Weak | The composition of a Fibre Channel Frame include SOF – 4 bytes Frame header – 24 bytes Data field - up to 2,112 bytes of actual data. CRC – 4 bytes - It verifies data integrity by checking whether the content of the frames was received correctly. EOF – 4 bytes Typically, the minimum frame-length of a FC frame is 36 bytes and the maximum frame-length of a Fibre Channel frame is 2148 bytes.
Very Imp | What is FCoE?
Explain in your own words | FCoE is Fibre Channel over Ethernet protocol In FCoE, FC frame is encapsulated into Ethernet frame and FC frame is decapsulated from ethernet frame. To implement FCoE, we need CNA card in servers, FCoE enabled switch and FC Storage FCoE switch is also known as Converged Network Switch FCoE switch will have FC ports and 10Gig ethernet ports. On FC ports, FC storage will be connected. On Ethernet ports, Server will be connected using CNA cards. On FCoE switch zoning is configured.
FCoE is used to transport Fibre Channel traffic and Ethernet traffic over the same single adapter and existing ethernet network. FCoE converges FC protocol and Ethernet protocols. By implementing FCoE, we can reduce no of adapters at host, no of cables, no of switches.
Very Imp | CNA card?
Weak | CNA card is converged Network Adapter CNA card supports Fibre Channel traffic and Ethernet traffic over the same ethernet network. It is a 10 Gig card It is installed in Server's PCI slot It is connected to FCoE enabled switch. We can create vNIC and vHBA vNIC will have mac address and vHBA will have wwpn This wwpn is used to create zoning on FCoE enabled switch
Dual stack switch (Running FCP protocol and ethernet protocol) https://www.youtube.com/watch?v=TAj9whKayA8
DCB: Datacenter Center Bridging)
HP StorageWorks 2408 FCoE Converged Network Switch It has total 32 ports.
Very Imp | What is NVM?
NVM is used in SSD and M.2 drives. An NVM device is faster than spinning disk and provides low data transfer latency. NVM Express (NVMe) is a protocol. It is computer-to-disk connectivity protocol. An NVMe device connects directly to an embedded storage controller on the motherboard instead of a PCIe card. The embedded controller allows the NVMe device to achieve maximum performance. Commonly known as flash storage.
NVM is used in SSD and M.2 drives. An NVM device is faster than spinning disk. An NVMe device connects directly to an embedded storage controller on the motherboard instead of a PCIe card. NVM Express (NVMe) is a protocol. It is computer-to-disk connectivity protocol. Commonly known as flash storage.
Very Imp | What is NVMe?
Very Imp | NVMe Over Fabrics
Native NVMe cannot connect to NVM storage devices outside of the server. NVMe Over Fabrics (NVMe-oF) was introduced to enable shared NVMe storage device connectivity. NVMe Over Fabrics enables the NVMe protocol to be transported over FC or other fabrics. NVMe-oF enables servers to take full advantage of high performance NVM flash storage systems distributed across a SAN fabric.
Very Imp | SmartFabric Storage Software?
???
Very Imp | FC Addressing in Switched Fabric?
FC address is assigned to node ports during fabric login. It is used for communication between nodes in a FC SAN FC address size is 24 bits. FC address contains, Domain ID, Area ID and Port ID. 1: A domain ID is a unique number that is assigned to each switch in the fabric. 2: The area ID is used to identify a group of switch ports. 3: The port ID identifies the port within the group.
Very Imp | ---> What is disaster recovery planning?
Very Imp | ---> What is design prinicipals behind buiding disaster recovery, what requirement of RPO and RTO?
Weak | Tier 1: 99.999% availability (5 minutes of downtime per year) Tier 2: 99.9% availability (8.8 hours average downtime per year, 13.1 hours maximum) Tier 3: 99% availability (3.7 days of downtime per year)
Weak | During Disaster Recovery planning, We list down all applications. We group them into tiers (Tier1, Tier2, Tier3) Tier 1 applications are those applications which should be restored as soon as possible. Tier 2 applications are those applications which are important but not as urgent, and can be put on hold for few hours. Tier 3 applicationss are less important and can wait for a few days if necessary. Some applications will become more or less important, thus changing tiers. For each application, we conclude, How much data loss and downtime is acceptable. Based on dataloss and downtime we decide RPO and RTO for each application. And based on RPO and RTO, we configure backup and replication frequency.
Very Imp | ---> How to decide network bandwidth to meet RTO, RPO and disaster recovery?
https://www.dell.com/community/RecoverPoint/Bandwidth-requirement-calculation/td-p/6787415
Weak | To find out required network bandwidth to support RPO, RTO and disaster recovery, we need to find out how much data will change for each luns over a given period of time. After the initial sync only the changed blocks will be replicated to DR site. So we will find out total data change for all the LUNS during the busiest hour, which are configured in replication and convert that to Mb/s. So for an example. Lun 1, data change is 1GB for an hour Lun 2, data changes id 2GB for an hour total data changed = 3 GB Convert to MB ---> 3GB * 1024 = 3072MB Convert the MB to Mb ---> 3072*8 = 24576Mb 24576Mb is the amount of data changed in a hour on our luns, we need to convert this to the average per second ---> 24576 / (60*60) = 24576 / 3600 = 6.83 Mb/s
Very Imp | Backup sizing
Weak | How many Tape drives we will have, how many tapes for daily, weekly, monthly and yearly etc. Which backup software we will use?
Weak | What is the total size of the bakcup? What is the size of SQL database backup, Oracle database backup? What is the size of Filesystem backup etc. What is the backup windows What is the type of backup (Daily Full, Weekly full, SAN backup, LAN backup) How many copies of backup? What is the RPO and RTO for each backup. What is the backup retention period. Based on the above information we can decide no of tapes, tape drives and no of libraries required to achieve backup within RPO and RTO.
Weak | SQL database backup is 2TB Oracle database backup is 5TB Filesystem backup is 1TB Total 8 TB to be backed up Backup windows is 8 hours (from 11PM to 7AM) Daily full 2 copies (One onsite and one offsite) Frequency of backup Retention of backup
Weak | Backup sizing done for Bank of Barod, Godrej, VFS, Severn Trent Water Backup window from 10PM to 8AM Daily full backup for Oracle database backup, SQL database backup Weekly full and daily incremental backup for Windows, Linux, Solaris and Virtual machines. Daily retention is 7 days and weekly retention is 28 days and monthly 12 months, yearly 10 years. Database backup is the priority to complete backup first. 2 copies of backup, one onsite and one offsite.
Very Imp | VMware sizing
???
Very Imp | What is FCIP?
Weak | https://www.youtube.com/watch?v=21tsUeJPMsc
Weak | FCIP is for Fibre Channel over IP FCIP is used to connect 2 different FC SAN, located in 2 different geographical locations over WAN distances. FCIP is a tunneling protocol that encapsulates FC frames into IP packets and sends over WAN distances. It also decapsulates FC frames from IP packets. If the the distance between 2 different FC SAN is more than 200KM, then we can not use Fibre optic cables to connect them. In that case we can use FCIP protocol to connect them. FCIP is used to replicate data from primary storage to remote storage to support business continuity and disaster recovery.
Weak | In FCIP implantation, A special multiprotocol switch is used at primary site and DR site. Multiprotocol switch is also known as an FCIP gateway. Multiprotocol switch contains both FC ports and Ethernet ports. FC ports is configured as E_Port and is connected to an FC SAN switch at both the sites. Ethernet port is connected to router/Firewall at both the sites. Both the sites are connect via WAN link. Primary storage send FC frame to MP switch, MP switch encapsulats FC frames into IP packets. IP packets are forwarded to router and firewall via Ethernet port. router and firewall send it to DR site. DR site Rputer and firewall forwards to MP switch. MP switch decapsulates, FC frames from IP packet and forwards it to remote storage using FC port.
Very Imp | Network architecture for NetApp SolidFire
Refere Core to Edge or talk to some Network Engineer | 2 Spine switches, 2 leaf switches for servers connectivity, 2 leaf switches for SolidFire connectivity. Each leaf switch will connect to both spine switches. Full Mesh connectivity. Both Spine will connet to each other??? LACP protocol is used here. Link Aggregation Control Protocol Load balancing, failure and double speed
Spine and Leaf network architecture (https://www.youtube.com/watch?v=xjc7WLBb-nI)
Very Imp | Emulex - Emulex HBA Manager
???
Very Imp | Qlogic HBA card - SANsurfer
???
Less Imp | What is DRAM?
???
Very Imp | What is Scale-UP and Scale-out architecture?
Scale-up means adding capacity to existing controllers. Scale-out means adding performance and capacity. Scale-up and scale-out architecture allows you to start small and grow as the business demand
2 Types of implementation (Scale-up and Scale-out architecture). Storage system have 2 major components (Controllers and Disk shelf). Controllers have front end ports, Cache, back end ports and Storage have disk shelf (having multiple disks). In scale-up, storage and controllers can be scaled-up interdependently or separately. Initially we can start with 2 controllers and 1 disk shelf, later we can add more disk shelves (Scale-up). Once controller's supported no of disk shelves are exhausted, then we can add more controllers (scale-up) and then we can add more disk shelves to new controllers. Adding controller will give us more processing power, more cache, more memory and more front end, back end ports and IOPS. Adding disks will give more capacity, IOPS, so in scale-up, controllers and storage can be scaled-up separately. In scale-out solution we are using node based architecture in a cluster. Node, contains controller and internal storage (disks). We can add new node to cluster (scale-out) and we get additional controller and stroage (disks). With the new node we add controller and storage together.
Very Imp | What is Storage Provisioning?
Storage Provisioning is the process of assigning storage resources to compute systems.
Two way of storage provisioning
Very Imp | What is Thin-provisioning
Weak | Thin provisioning is the storage efficiency feature. In Thin provisioning, Over-provisioning is allowed. We can create and allocate multiple LUNs Total size of all the LUN can cross total physical storage capacity. When we create and allocate a thin LUN, initially no physical storage is allocated to LUN. Host can see full capacity of the LUN and assumes that it has full capacity available. As the host writes data to the LUN, physical storage is allocated to the LUN. So the allocation is as per hots demand. Unused capacity of the LUN will be with the storage. In thin provisioning, we have to monitore capacity utilization as it should not reach to 100%.
Very Imp | What is Thick-provisioning
Weak | In Thik provisioning, Over-provisioning is not allowed. Allocating more than the physical storage capacity is not allowed. We can create and allocate multiple LUNs Total size of all the LUNs can not cross total physical storage capacity. When we create and allocate a thick LUN, full physical storage is allocated to LUN. For Example If we have a Pool of 500GB then total LUN size can not cross 500GB. we can create 5 LUNs f 100GB each or 2 LUNs of 250GB each but at point of time, we can not cross limit of 500GB.
Very Imp | What is RAID?
Redundant Array of Independent Disks RAID is a technique that combines multiple disk drives into a RAID Group/RAID set. RAID Group is a logical group of one or more disk drives that we eventually want to slice into LUNs. RAID provides data protection, improved performance or both. RAID uses mirroring or parity technique for data protection against disk failure. And striping technique for improved performance. There are 2 types of RAID, Hardware RAID and Software RAID. Hardware RAID is implemented by using a specialized hardware controller. Software RAID is built into Operating System and it is implemented at the operating-system level.
Very Imp | What is striping?
Striping is a technique of spreading data across multiple drives simaltaneously.
Striping is a technique of spreading data across multiple drives simaltaneously. All the read/write heads of all the drives work simultaneously, allowing more data to be processed in a shorter time. This approach increases the performance, compared to reading and writing from a single disk. The set of aligned strips that spans across all the disks within the RAID set is called a stripe. The figure shows representations of a striped RAID set. Strip size (also called stripe depth) describes the number of blocks in a strip (represented as “A1, A2, A3, and A4”). All strips in a stripe have the same number of blocks. Having a smaller strip size means that the data is broken into smaller pieces while it is spread across the disks. Stripe size (represented as A) is a multiple of strip size by the number of data disks in the RAID set. For example: in a four-disk striped RAID set with a strip size of 64 KB, the stripe size is 256 KB (64 KB x 4). Striped RAID does not provide any data protection unless parity or mirroring is used.
Very Imp | What is Mirroring?
Mirroring is a technique whereby the same data is stored on two or more disks resulting in multiple copies of the data. If one disk drive failure occurs, the data remains intact on the surviving disk drive. The controller continues to service the data requests from the surviving disk of a mirrored pair. When the failed disk is replaced with a new disk, the controller copies the data from the surviving disk of the mirrored pair. Mirroring involves duplication of data – the amount of storage capacity that is needed is twice the amount of data being stored. Mirroring is considered expensive and is preferred for mission-critical applications that cannot afford the risk of any data loss. Mirroring improves read performance because read requests can be serviced by both disks. However, write performance is slightly lower than a single disk because each write request manifests as two writes on the disk drives.
Very Imp | ---> What is latency?
Latency is also known as delay. Latency is the time it takes for data to transfer from source to destination . The lower the latency, the higher the performance. Letancy is measured in miliseconds.
Very Imp | What is Response time?
Response time is the time it takes for data to transfer from source to destination and get the acknowledgment from desntination for the successful delivery of data. When a server sends a write request to storage, storage writes the data to cache and sends "write-complete" acknowledgement back to the server. The time taken between server request and response from stroage is known as response time.
Very Imp | What is Bandwidth?
Bandwidth is the maximum volume of data that can be transferred through a link. The more the bandwidth the better the performance. Bandwidth can be measured in Kbps, Mbps.
Very Imp | What is Throughput?
Throughput is the actual volume of data that is transferred through a link. Throughput can be measured in IOPS or Mbps?
Very Imp | What is QoS?
QoS is Quality of Service. Quality of Service is a feature that limits I/O between hosts to storage resources. QoS is used to gurantee the required bandwidth to storage traffic We can create QoS policy. In that policy we can specify minimum, maximum and burst limits by setting throughput in IOPS or bandwidth in KBPS or MBPS or combination of both types of limits. If both thresholds are set, the system limits traffic according to the threshold that is reached first. QoS policy can be shared and not shared
Very Imp | RAID 0
Raid 0 is just striping only. We need two or more disks. It does not protect data against disk failure. We get full capacity. We do not lose any space here. It is not recommended for production environement, only for test environement where data loss is accepted. For example If we have 5 disks of 500GB each, then we get 2500GB usable space
https://www.youtube.com/watch?v=-6sA9nHlZDc
Very Imp | RAID 1
Raid 1 is just mirroring only. We need two disks. It does protect data against a single disk failure. We get 50% of total capacity and we lose 50% of total capacity. It is recommended for production environement. For example If we have 2 disks of 500GB each, then we get 500GB usable space.
Very Imp | RAID 5
Raid 5 is sptriping with distributed parity. We need 3 disks. It does protect data against a single disk failure. We get n-1 capacity. We lose 1 disk capacity. It is recommended for production environement. For example If we have 3 disks of 500GB each, then we get 1000GB usable space.
RAID 5 writes perform better than RAID 6.
RAID 5 is best for large sequential I/O and Random I/O,
sequential I/O, such as streaming media, lots of audio and video which sequential in nature or nightly backup which is also sequential in nature.
Very Imp | RAID 6
Raid 6 is sptriping with dual distributed parity. We need 4 disks. It does protect data against 2 disk failure. We lose 2 disk capacity. It is recommended for production environement. For example If we have 4 disks of 500GB each, then we get 1000GB usable space.
The rebuild operation in RAID 6 may take longer than RAID 5 due to the presence of two parity sets.
Very Imp | RAID 10
RAID 10 is mirroring and striping. It need 4 disks (4, 6, 8, 10, 12 so on) It does protect data against 2 disk failure from 2 different mirror set. We get 50% capacity. We lose 50% capacity. It is recommended for production environement. For example If we have 4 disks of 500GB each, then we get 1000GB usable space.
Very Imp | RAID 01
RAID 01 is mirroring and striping. It need 4 disks (4, 6, 8, 10, 12 so on) It does protect data against 2 disk failure from singe stripe set. We get 50% capacity. We lose 50% capacity. It is recommended for production environement. For example If we have 4 disks of 500GB each, then we get 1000GB usable space.
Very Imp | RAID 50
Need to verify | Striping of RAID 0 with the distributed parity of RAID 5 (RAID 0 array striped across RAID5 elements) Minimum 6 disks???
Very Imp | Main difference between RAID 10 vs RAID 01 - https://www.thegeekstuff.com/2011/10/raid10-vs-raid01/
Review once | Performance on both RAID 10 and RAID 01 will be the same. The storage capacity on these will be the same. The main difference is the fault tolerance level. RAID 01 fault tolerance is less. On RAID 01, since we have only two groups of RAID 0, if two drives fails (one in each group), the entire RAID 01 will fail. RAID 10 fault tolerance is more. On RAID 10, since we have only two groups of RAID 1, since there are many groups (as the individual group is only two disks), even if two drives fails (one in each group), the RAID 10 is still functional. So, given a choice between RAID 10 and RAID 01, always choose RAID 10.
Very Imp | Raid Impact on Perfromacne?
• In RAID 5, every write (update) to a disk manifests as four I/O operations (two reads and two writes). • In RAID 6, every write (update) to a disk manifests as six I/O operations (three reads and three writes). • In RAID 1 and RAID 1+0, every write manifests as two I/O operations (two writes).
Very Imp | What is redundancy?
???
Write Penalty?
Very Imp | Lun masking
Lun masking is mapping of a single or multiple LUNs to a single or multiple hosts. It is done for security reason.
Very Imp | What is LUN
LUN is Logical Unit Number It is created in a RAIDGroup. RAIDGroup is made of multiple disks. LUN is Logical slice, which is evenly distributed across all the disks in a RAID Group. It is allocated to host. Host sees it as a RAW disk access. Host need to format LUN to read and write data.
Very Imp | Storage power off procedure
Stop all applications
Stop all databases
Stop all other IO to storage
Shutdown Controller1
Shutdown Controller2
Shutdown all the disk shelves one by one
Very Imp | Storage Power on procedure
Power on all the disk shelves one by one and wait for 10 minutes
Power on Controller1
Power on Controller2
Check health of storage
Start all databases
Start all applications
Start all other IO to storage
Very Imp | Switches
switches are typically smaller 1U, fixed-configuration, less redundant devices. Directors are large in 5U, It has large no of FC ports. it is chassis based, Chassis will have slots. In slots we can install FC port modules. Redundant power supplies are there.
Very Imp | What is spare disk
Spare disk is a disk, which is used to replace a failed disk.
Very Imp | What is IOPS?
IOPS is Input/Output per second. One read request or one write request is 1 I/O. Each I/O has sizes ranging from 512bytes to 256KB or 1MB.
Very Imp | IOPS per disk?
SATA 7200 RPM: 75-100 IOPS - 5MB/s SAS 10K RPM: 125 - 150 IOPS - 9MB/s SAS 15K RPM: 175 - 210 IOPS - 12MB/s SSD (Depends upon Vendor): 3Gb/6Gb interface - 8000 to 100000IOPS
https://en.wikipedia.org/wiki/IOPS
https://www.techrepublic.com/blog/the-enterprise-cloud/calculate-iops-in-a-storage-array/
IOPS depend on below points Rotational speed: 10,000 RPM Average latency: 3 ms (0.003 seconds) Average seek time: 4.2 (r)/4.7 (w) = 4.45 ms (0.0045 seconds) Calculated IOPS for this disk: 1/(0.003 + 0.0045) = about 133 IOPS
Very Imp | What is write penalty?
There is no read penalty for any RAID, but there is write penalty. RAID Write Penalty RAID0 0 RAID1 2 RAID5 4 RAID6 6 RAID10 2
Very Imp | IOPS caculating formula for Single Disk?
IOPS = 1000ms/average seek time + average rotational latency time.
Very Imp | IOPS for RAID0
If we apply, RAID0 on a pool of 8 disks (SAS 600GB 15K RPM). RAID0 have 0 write penalties. IOPS calculating formula is as mentioned below. Total IOPS x percent of write/write penalty + Total IOPS x percent of read If write operation is 50% and read operation is 50%. IOPS: 1400 x 50% + 1400 x 50% 140 x 5 + 140 x 5 700 + 700 1400 IOPS
Very Imp | IOPS for RAID1
If we apply, RAID1 on 2 disks (SAS 600GB 15K RPM). RAID1 have 2 write penalties. IOPS calculating formula is as mentioned below. Total IOPS x percent of write/write penalty + Total IOPS x percent of read If write operation is 50% and read operation is 50%. IOPS: 350 x 50%/2 + 350 x 50% 35 x 5/2 + 35 x 5 175/2 + 175 87 + 175 262 IOPS
Very Imp | IOPS for RAID5
If we apply, RAID5 on 8 disks (SAS 600GB 15K RPM). RAID5 have 4 write penalties. IOPS calculating formula is as mentioned below. Total IOPS x percent of write/write penalty + Total IOPS x percent of read If write operation is 50% and read operation is 50%. IOPS: 1400 x 50%/4 + 1400 x 50% 140 x5/4 + 140 x 5 700/4 + 700 175 + 700 875 IOPS
Very Imp | IOPS for RAID6
If we apply, RAID6 on 8 disks (SAS 600GB 15K RPM). RAID5 have 6 write penalties. IOPS calculating formula is as mentioned below. Total IOPS x percent of write/write penalty + Total IOPS x percent of read If write operation is 50% and read operation is 50%. IOPS: 1400 x 50%/6 + 1400 x 50% 140 x5/6 + 140 x 5 700/6 + 700 116 + 700 816 IOPS
Very Imp | IOPS for RAID10
If we apply, RAID10 on 8 disks (SAS 600GB 15K RPM). RAID10 have 2 write penalties. IOPS calculating formula is as mentioned below. Total IOPS x percent of write/write penalty + Total IOPS x percent of read If write operation is 50% and read operation is 50%. IOPS: 1400 x 50%/2 + 1400 x 50% 140 x 5/2 + 140 x 5 140/2 + 700 70 + 700 770 IOPS
Very Imp | How to calculate throughput in MB with IOPS
IOPS = (MBps Throughput / KB per IO) * 1024. Or. MBps = (IOPS * KB per IO) / 1024. MBps = 1480 * 4/1024 MBps = 5920/1024 MBps = 5.7 MBps
Very Imp | IO Block Size
512 bytes to 256 KB or 1MB
??? | What is HLD (High Level Document)? What is LLD (Low Level Document)? What is solution document? What is client facing role? What is RFP (Request for Proposal)? HLD is also called the system or macro-level design of a system. LLD is also called the detailed or micro-level design of a system. The Solution Architect usually owns the high-level design document
Very Imp | What is encryption? How does it work?
Encryption is a data security feature Encryption is a technique to convert data into secret code. Encryption ensures data protection from unauthorized access if drives are removed from the system. Data can be encrypted "in transit" or "at rest". Cryptographic key is used to encrypt data.
There are 2 types of encryption. Symmetric encryption and Asymmetric encryption. In symmetric encryption, there is only one key, and all communicating parties use the same key for both encryption and decryption. In Asymmetric (It is also known as public key encryption), there are two keys: One key is used for encryption, and a different key is used for decryption. Encryption key is known as Public key. Decryption key is know as private key. The decryption key is kept private. Encryption key is shared publicly.
If the data is encrypted on a hard drive and if that hard disk is lost or stolen then the data on that hard drive can not be decrypted without key. So it data is secure. Similarly, encrypted communications enable the communicating parties to exchange sensitive data without leaking the data.
Very Imp | What is De-Duplication and how it works?
De-duplication searches for duplicate blocks which contains dulicate data. When duplicate block is detected, it is not retained, but instead it creates a “data pointer”. This "data pointer" points to the block which contains exact copy of data which is already stored on the disk. De-duplication feature works well with datasets that have lots of duplicated date (for example, full backups). Deduplication helps in replicating data quickly.
Very Imp | Difference between single mode fibre cable and multimode fibre cable?
It depends about the distance between source and destination (transmission distance) If the distance is less than a couple of miles (150 KM), we can use multimode fibre cable. If the distance is more than 3 miles (150 KM), we can use single mode fibre cable.
Imp | Which RAID delivers best performance and why?
Imp | Usable capacity calculation for RAID0
If we take 8 disks of 1TB. Total raw capacity = 1 TB x 8 disks = 8 TB Usable capacity for "Raid 0" is full so = 8 TB
Imp | Usable capacity calculation for RAID1
If we take 2 disks of 1TB. Total raw capacity = 1 TB x 2 disks = 2 TB Usable capacity for "Raid1" is 50% so = 2 TB/2 = 1 TB
Imp | Usable capacity calculation for RAID5
If we take 8 disks of 1TB. Total raw capacity = 1 TB x 8 disks = 8 TB Usable capacity for "Raid5" is "n-1" so = 1 TB * 7 disks = 7 TB
Imp | Usable capacity calculation for RAID6
If we take 8 disks of 1TB. Total raw capacity = 1 TB x 8 disks = 8 TB Usable capacity for "Raid6" is "n-2" so = 1 TB * 6 disks = 6 TB
Imp | Usable capacity calculation for RAID10
If we take 8 disks of 1TB. Total raw capacity = 1 TB x 8 disks = 8 TB Usable capacity for "Raid10" is "50%" so = 8 TB / 2 = 4 TB
Very Imp | What is a spare disk, hotspare or Disk Sparing?
Hotspare is a disk which is not configured in any Raidgroup or pool. It is configured as spare disk, ready to be usded in case of disk failure. If any disk failed, then the data from failed disk is copied to spare disk. If the failed disk is not available then data is regenerated from good drives and stored in spare disk. Once failed disk is replaced, data from spare disk is copied back to new replaced disk. In newer storage, new disk becomes the spare disk.
Very Imp | What is HDD and components of HDD?
Traditional mechanical hard disk drive have moving components. SAS, NL-SAS Components of HDD Spindle, Motor, Magnetic coated platters, Actuator Arm with read/write head, Controller board (PCB), Power Connector, Data interface, Head Assembly When we format a disk, it logically creates tracks and sectors. Sector is also referred to as block. 512 bytes, 2KB, 4KB. Block size is fixed Outer track have more space and inner track have less space.
I/O operations in hard drives are performed by rapidly moving the arm across the rotating flat platters that are coated with magnetic material. Data is transferred between the disk controller and magnetic platters through the read/write (R/W) head which is attached to the arm. Data can be recorded and erased on magnetic platters any number of times. A typical hard disk drive consists of one or more flat circular disks called platters. The data is recorded on these platters in binary codes. The set of rotating platters is sealed in a case, called Head Disk Assembly (HDA). A platter is a rigid, round disk coated with magnetic material on both surfaces (top and bottom).
Data can be written to or read from both surfaces of the platter. The number of platters and the storage capacity of each platter determine the total capacity of the drive. A spindle connects all the platters and is connected to a motor. The motor of the spindle rotates with a constant speed. The disk platter spins at a speed of several thousands of revolutions per minute (RPM). When the spindle rotates, a microscopic air gap is maintained between the R/W heads and the platters, which are known as the head flying height. This air gap is removed when the spindle stops rotating and the R/W head rests on a special area on the platter near the spindle. This area is called the landing zone.
R/W heads are mounted on the actuator arm assembly, which positions the R/W head at the location on the platter where the data must be written or read. The R/W heads for all platters on a drive are attached to one actuator arm assembly and move across the platters simultaneously. The controller is a printed circuit board, mounted at the bottom of a disk drive. It consists of a microprocessor, internal memory, circuitry, and firmware. The firmware controls the power that is supplied to the spindle motor and controls the speed of the motor. It also manages the communication between the drive and the compute system. In addition, it controls the R/W operations by moving the actuator arm and switching between different R/W heads, and performs the optimization of data access.
Very Imp | What is seek time?
The seek time is also known as access time. Seek time is the time that is taken to position the actuator arm and R/W heads over the correct track. The lower the seek time, the faster the I/O operation.
Very Imp | What is rotational latency?
Rotational latency is the time that is taken by the platter to rotate and position the sector under the R/W head. Rotational latency depends on the rotation speed of the spindle and is measured in milliseconds.
The data transfer rate (also called transfer rate) denotes the average amount of data per unit time that the drive can deliver to the HBA. In a read operation, the data first moves from disk platters to R/W heads; then it moves to the drive’s internal buffer. Finally, data moves from the buffer through the interface to the HBA on a compute.
Disk service time = Seek time + Rotational latency + Data transfer rate
Not Imp | NL-SAS disk
??? | NearLine Serial Attached SCSI NL-SAS drive are Enterprise SATA drives with a SAS interface head for I/O.
Not Imp | SAS disk
??? | Serial Attached SCSI
Very Imp | What is SSD disk
SSD disks are different from Hard disk. SSD disk have non-volatile flash storage to store data persistently. They do not have any movable part, therefor no RPM (Revolution Per Minute). They consume less power and they generate less heat as compared to hard disk drives. SSD disks provide better performance than hard disk.
SSDs are semiconductor, random-access devices SSD performs random reads the best.
Very Imp | What is Non-Volatile Memory Express?
Very Imp | What is Storage Class Memory?
Less Imp | What Is Q-depth? How To Calculate It?
The queue depth is the maximum number of commands that can be queued on the system at the same time.
32. Is The Queue Depth =execution Throttle= Maximum Number Of Simultaneous I/o For Each Lun On A Particular Path To The Storage Port? (L3)
Calculation of the maximum queue depth: The queue depth is the number of I/O operations that can be run in parallel on a device.
Imp | What Are The Generic Method To Provision San Storage From Any Array?
Plan Validation with Support Matrix for Host Connectivity Provide Connectivity Pick Volumes Make Meta Volumes if necessary Map out Zoning Map to storage arrays Ports Create Zones LUN Mask Discover on Server
Imp | What is the iscsi port number?
3260
Very Imp | What is an HBA?
HBA is a Host Bus Adapters which is installed in server and it is connected to SAN Switch using fibre optic cable. It is used to access stroage LUNs using fibre channel protocol.
Very Imp | What is Utilization
Utilization means business of CPU, Memory, Cache, Disk etc
Very Imp | What is Random I/O?
In random I/O, more seek time and rotational latency time is required, so it is slower than sequential I/O. Blocks are spread across tracks. I/O Which is addressed to regions on the LUN which are distant form each other.
Very Imp | What is Sequential I/O?
Sequential I/O is faster than random I/O, as in sequential I/O, there is less seek time and rotational latency time. I/O to regions on the LUN which are adjacent. Blocks are adjacent to each other.
Very Imp | What is Skew?
??? | This refers to the difference in I/O levels between the most busy and the most idle blocks on a LUN. Database tables would have high skew, whereas a full backup would have minimal skew.
Very Imp | What is disaster recovery versus data backup?
In Backup, we take backup of production data to tape and disk drive. We can send tapes offsite or keep onsite in a vault. Backup can be daily full or weekly full and daily incremental. Whenever required we can use tapes to restore data. In Disaster recovery, we copy production data from DC to DR site. If any disaster happens at DC site then we can run all the production data from DR site.
Very Imp | FC cable type requirement
LC to LC: Lucent connector type SFP: Small Form Factor Pluggable Single mode FC cable Multimode FC cable
Very Imp | LTO tape size
LTO 1, 2, 3, 4, 5, 6, 7, 8 LTO 1: 100GB/200GB LTO 2: 200GB/400GB LTO 3: 400GB/800GB LTO 4: 800GB/1.6TB LTO 5: 1.5TB/3TB LTO 6: 2.5TB/6.25TB LTO 7: 6TB/15TB LTO 8: 12TB/30TB
Very Imp | Storage efficiency
Thin provisioning, Deduplication and compression are the efficiency feature of storage.
Very Imp | ---> Storage performance analysis, What is SKEW?
??? | Performance key matrix? (IOPS, latency and throughpout, cache utilization, CPU and Memory utilzation of Storage, Switch port utilization, disk utilization)
https://www.youtube.com/watch?v=A8h5cMjooGs https://faststorage.eu/emc-world-day-4-vnx-skew-data-placement/#:~:text=Skew%20will%20indicate%20how%20much,built%20out%20of%201GB%20chunks. Skew will indicate how much of your capacity is generating how much of your IOps. Check SKEW in performance analysis and in the NAR file (VNX Analyzer)
Very Imp | List of issues faced in storage, backup, vmware, performance etc?
???
Less Imp | Configure NFS from Linux side
https://www.youtube.com/watch?v=o5hXWtWn8aY
Weak | Create a new directory (mount point) in Linux server to mount NFS share (mkdir /nfs-share) Now mount NFS share to mount point mount -t nfs 192.168.0.220:/mnt/nas-pool1/freenas1 /nfs-share/ mount (-t = tie) (nfs = type) 192.168.0.220: (Server IP) /mnt/nas-pool1/freenas1 (path of the shared folder) /nfs-share (mount point) Install nfs client if it is not there Check mount by running mount -l
Less Imp | Configure CIFS from Windows side
???
Less Imp | Understand how raid works (XOR)
http://blog.open-e.com/how-does-raid-5-work/ a1, a2, a3, ap b1,b2,bp,b3 c1, cp, c2, c3
Less Imp | What is Queue Length?
A measure of how many IO s are starting to back up in the queue, under 10 is a good number.
No of data packets or frames waiting in the queue to be processed is queue length.
2 | Boot from SAN
Create a LUN on the storage system and map it to the host. This LUN will be the SAN boot LUN. Enable the BIOS of the HBA port to which the SAN boot LUN is mapped. Save and exit. Reboot the host. Install the operating system on the SAN boot LUN. Install the Host Utilities. Configure DM-Multipath.B267
Very Imp | Persistent binding
an environment that utilizes persistent binding, once a system has booted, it will maintain a constant view of the same target ID because the driver software remaps the SCSI target ID to the new WWNN on the fly. Persistent Binding Advantages: A second system may use a different SCSI target ID for that target. Thus, an administrator seeking to work with the same target across multiple hosts must be prepared to encounter the situation where the same fibre channel target is known by different SCSI target IDs. Use persistent binding to maintain a consistent target ID on all systems. A common scenario for this type of situation would be a network administrator who needs to consistently map to a tape drive for backup purposes.
Use the Persistent Binding for Tape Devices. Persistent binding is a host-centric enforced way of directing an operating system to assign certain SCSI target IDs and LUNs.
Less Imp | 29. How Will You Find Errors On Various Os Operating Systems To Troubleshoot Problems? (L2) I will check the OS log files/event logs for errors:
Windows: event logs linux: /var/log/messages ESX: /var/log/vmkernel ESXi: /var/log/messages
Less Imp | 45. How Will You Get The Wwn Of All Your Hba’s To Provision San Storage on Windows / Linux / VMware ESXi? (L2)
WIN: emulexcfg –emc or hbanywhere I can use Storage Explorer to see detailed information about the Fibre Channel host bus adapters (HBAs). VMware vSphere ESX/ESXi host There are several ways to get HBA WWNs on VM vSphere Client; Using ESXi Shell; Using Powershell / PowerCLI script. LINUX /sys/class/scsi_host/hostN/device/fc_host/hostN/port_name Where “N” is the number of device for your fibre HBAs
2 | Software and hardware Data encryption for storage EMC VNX 5200
https://www.emc.com/collateral/white-paper/h13296-dare-wp.pdf